600 - Phase C Intermediate Review Checklist for the Architect-Engineer

This checklist is to be used by the Architect-Engineer during Phase C of the Project and shall be included in the Intermediate Review Phase C Submittal.

Note: If a Phase C Intermediate Review is not required by the Project Manager, the Phase C Intermediate Review Checklist shall become a part of the Phase C Final Checklist.

Project Administration:

Yes	No

Approval: Phase C authorization has been received from Project Manager.

Review: Requirements in Chapter 6 - Phase C Final Design, and Chapter 7 - Bidding and Negotiations, of the Capital Construction Project Procedures Manual have been reviewed.

Pre-Design, Phase A and Phase B Checklists: The Architect-Engineer has reviewed the Pre-Design, Phase A and Phase B Checklists. All carry forward items remaining from those checklists have been incorporated in the Phase C submittal. These have been discussed at the review meeting.

Project Directory: The Project Directory has been updated.

Design Review Meetings: The Architect-Engineer has scheduled, conducted and documented Phase C Final Design Review Meetings with the Owner, Using Agency and Design Team.

Commissioning Team Meetings: The Commissioning Authority has scheduled, conducted and documented Phase C Commissioning Team Meetings.

Value Engineering: The Architect-Engineer has considered value engineering options continuously during construction documents phase.

Intermediate Phase C Submittal: The Architect-Engineer has included the following information:

Yes	No

Special Conditions - See Section 608.8

Drawings developed to approximately 75% completion

Unit Prices - See Section 607.3

Materials List- See Section 608.7

Subcontractors list- See Section 608.7

Alternates- See Section 607.1

Allowances- See Section 607.2

LEED Score Sheet

Updated Phase C Estimate of Construction Cost – See Section 611 including the schedule and Space Study Statement.

Division 020000 - Site

Yes	No

Hazardous Materials Surveys/Abatement - See Sections 212 and 907.2

Subsurface Investigations have been completed. See Section 211

Potential for Human Remains has been assessed. See Section 223

Final Storm Water Pollution Prevention Plan (SWPPP) – Required when Project is1 acre or more. See Sections 220 and Sections 312500-1 through 312500-9

Environmental Permits required but not complete: Provide current status:

Yes	No

404 US Army Corps of Engineers Permit:

Stream Mitigation

Wetlands Mitigation

Water Quality Certification (WQC)

Floodplain Mitigation

Cultural (Archeological) Analysis

Air Pollution Permits – Coal Burning Facility

Air Space Encroachment – FAA Permits - building on or in the vicinity of an airport

Utility Investigations: (If required and not complete - provide status.)

Yes	No

Sewer (Division of Water) –  adequate capacity and acceptance of local utility?

Water (Division of Water) – adequate supply, pressure and acceptance of local utility?

Has a flow test been performed?

Electricity – coordination with local utility – is there adequate electrical supply?

Other utilities - is there adequate supply and availability? i.e., gas, communications, etc.

Divisions 210000 through 280000: Verify the following information is included in the project.

Division 210000 Fire Suppression:

Yes	No

Updated Systems Basis of Design Document

Updated Cost Projections

Distribution System Design Calculations

Distribution System Riser Diagrams

Pipe Sizes

Equipment Schedules

Flow Calculations

HVAC / Electrical / Systems Coordination Report

Schematics & Details

Final Commissioning Plan Approval

Division 220000 Plumbing:

Yes	No

Updated Systems Basis of Design Document

Updated Cost Projections

Distribution & Collection System Design Calculations

Distribution & Collection System Riser Diagrams

Pipe Sizes

Fixture & Equipment Schedules

Schematics & Details

Final Commissioning Plan Approval

Division 230000 HVAC:

Yes	No

Updated Systems Basis of Design Document

Updated Cost Projections

HVAC Systems Design Calculations

HVAC Systems Riser Diagrams / Elevations

Double Line Air Distribution Complete

Air Outlet & Inlet Device Placement Complete

Double Line Main Piping Complete

Branch Piping Complete

Locate Terminal Equipment & Devices

Equipment Schedules

Schematics & Details

HVAC / Electrical / Structural Coordination Report

HVAC / Electrical / Systems Coordination Report

Completed Functional Performance Test

Division 250000 Integrated Automation:

Yes	No

Updated Systems Basis of Design Document

Updated Cost Projections

Cable Schedule

Systems Architecture Riser Diagrams

HVAC / Electrical / Systems Coordination Report

Equipment / Installation Schematics & Details

Equipment Schedules

Integrated Specifications Final Draft

Final Commissioning Plan Approval

Completed Functional Performance Test

Division 260000 Electrical:

Yes	No

Updated Systems Basis of Design Document

Updated Cost Projections

Electrical Load Summary

Electrical Power Calculations

Panel Schedules

Lighting Design Calculations

Lighting Fixture Schedule

Lighting Control Diagrams

Lighting & Power Circuiting

Large Conduit Layout

Equipment / Installation Schematics & Details

Equipment Schedules

Coordinated Fixture / Switching Layout

Coordinated Power Receptacle Layout

Division 260000 Electrical: (continued)

Yes	No

HVAC / Electrical / Structural Coordination Report

HVAC / Electrical / Systems Coordination Report

Integrated Specifications Final Draft

Final Commissioning Plan Approval

Completed Functional Performance Test

Division 270000 Communications:

Yes	No

Updated Systems Basis of Design Document

Updated Cost Projections

Cable Schedule

Backboard Layout

System Architecture Riser Diagram

Equipment / Installation Schematics & Details

Equipment Schedules

HVAC / Electrical / Systems Coordination Report

Final Commissioning Plan Approval

Completed Functional Performance Test

Division 280000 Electronic Safety & Security

Yes	No

Updated Systems Basis of Design Document

Updated Cost Projections

Systems Riser Diagrams

Equipment / Installation Schematics & Details

Equipment Schedules

HVAC / Electrical / Systems Coordination Report

Integrated Specifications Final Draft

Completed Functional Performance Test

Division 019113 Commissioning Authority

Yes	No

Updated Owner’s Project Requirements & Manual

Updated Systems Basis of Design Documents

Integrated Specifications Final Draft

Functional Performance Test

Construction Forms & Checklists

Intermediate Design Review Report

Systems Manual Update

End of Phase C Intermediate Review Checklist for the Architect-Engineer