Fire Suppression- Design Submittals Checklist

Division 210000-1

Project Name: 	________________________________

Location: 	____________________________________

Project ID:	 ___________________________________

File No: 	_____________________________________

Pre-Design:

YES	N/A

(	(	Identify Owner's Project Requirements & Design Criteria

(	(	Preliminary Cost Projection

(	(	Preliminary Submittals Checklist

Phase A:  Schematic Design

YES	N/A

(	(	Detailed Submittals Checklist

(	(	Identify Demolition Requirements

(	(	Location of Utilities

(	(	Location of Entry & Stand Pipes

(	(	Basis of Design Documentation

(	(	Cost Projections

(	(	Fire Suppression Legend

Phase B:  Design Development

YES	N/A

(	(	Update Basis of Design & Cost Projections

(	(	Utility Coordination

(	(	Fire Suppression Entry Schematic

(	(	Routing of Distribution Mains

(	(	Locate Major Equipment in Mech. Rooms

(	(	Flow Calculations

(	(	Identify Commissioning Requirements

(	(	Specification Table of Contents

(	(	Schematics & Details Index

Phase C Part 1: 50% construction Documents

YES	N/A

(	(	Update Basis of Design Documents & Cost Projections

(	(	Distribution System Design Calculations

(	(	Pipe Sizes

(	(	Schematics & Details

(	(	Review Preliminary Commissioning Plan

Phase C Part 2: 75% Construction Documents

YES	N/A

(	(	Update Basis of Design & Cost Projections

(	(	Distribution System Riser Diagrams

(	(	Equipment Schedules

Phase C Part 2: 75% Construction Documents (continued)

YES	N/A

(	(	HVAC / Elect. / Systems Coordination. Report

(	(	Specifications Final Draft

(	(	Final Commissioning Plan Approval

Phase C Part 3: Final Design

YES	N/A

(	(	Final Basis of Design & Cost Projections

(	(	100% Construction Documents

(	(	Contract Specifications

Pre-Bid Conference

YES	N/A

(	(	Bid Solicitation

(	(	Review Bids & Evaluate Alternatives

(	(	Review Contractor's Submittals & Shop Drawings

(	(	Pre-Construction Conference

Phase D:  Construction

YES	N/A

(	(	Construction Phase Support / Testing / Inspections

(	(	Progress Billing Reviews

(	(	Operating & Maintenance Manual Review

Occupancy and Warranty

YES	N/A

(	(	Warranty Walk-thru