HVAC – Design Submittals Checklist

Division 230000-1

Project Name: 	________________________________

Location: 	____________________________________

Project ID:	 ___________________________________

File No: 	_____________________________________

Pre-Design:

YES	N/A

(	(	Identify Owner's Project Requirements & Design Criteria

(	(	Preliminary Cost Projection

(	(	Preliminary Submittals Checklist

Phase A:  Schematic Design:

YES	N/A

(	(	Detailed Submittals Checklist

(	(	Identify Demolition Requirements

(	(	Identify All Systems

(	(	HVAC Systems Flow Schematic Diagrams

(	(	Controls - Sequences of Operation

(	(	Energy Code Requirements

(	(	Identify Special Occupancy Zones

(	(	Location of Air Intake & Discharge Locations

(	(	Location of Utilities

(	(	Location of Mechanical Rooms & Pipe / Duct Chases

(	(	Preliminary Routing of Piping Distribution Mains

(	(	Preliminary Routing of Air Distribution Mains

(	(	Basis of Design Documentation

(	(	Cost Projections

(	(	Mechanical Legend

Phase B:  Design Development:

YES	N/A

(	(	Update Basis of Design & Cost Projections

(	(	Utility Coordination

(	(	Preliminary Design Calculations

(	(	Single Line Air Distribution Layout

(	(	Single Line Main Piping Layout

(	(	Control & Instrumentation Diagrams

(	(	Equipment List

(	(	Schematics & Details Index

(	(	Locate Major Equipment in Mech. Rooms

(	(	Smoke Control Scheme / M&E Coordination Matrix

Phase B:  Design Development:

YES	N/A

(	(	Identify Commissioning Requirements

(	(	Specification Table of Contents

Phase C Part 1: 50% Construction Documents:

YES	N/A

(	(	Update Basis of Design Documents & Cost Projections

Phase C Part 1: 50% Construction Documents: (continued)

YES	N/A

(	(	HVAC Systems Design Calculations

(	(	Single Line Air Distribution Sizing

(	(	Single Line Main Piping Sizing

(	(	Locate Terminal Equipment & Devices

(	(	Schematics & Details

(	(	Review Preliminary Commissioning Plan

(	(	Specification / Commissioning Integration Plan

(	(	Functional Performance Test Defined

Phase C Part 2: 75% Construction Documents:

YES	N/A

(	(	Update Basis of Design & Cost Projections

(	(	HVAC Systems Riser Diagrams / Elevations

(	(	Locate Air Outlet & Inlet Devices

(	(	HVAC / Elect. / Structural Coord. Report

(	(	HVAC / Elect. / Systems Coord. Report

(	(	Double Line Air Distribution Complete

(	(	Double Line Main Piping Complete

(	(	Branch Piping Complete

(	(	Equipment Schedules

(	(	Integrated Specifications Final Draft

(	(	Final Commissioning Plan Approval

(	(	Functional Performance Test Complete

Phase C Part 3: Final Design:

YES	N/A

(	(	Final Basis of Design & Cost Projections

(	(	100% Construction Documents

(	(	Contract Specifications

(	(	Pre-Bid Conference

Bid Solicitation:

YES	N/A

(	(	Review Bids & Evaluate Alternatives

(	(	Review Contractor's Submittals & Shop Drawings

(	(	Pre-Construction Conference

Phase D:  Construction:

YES	N/A

(	(	Construction Phase Support / Testing / Inspections

(	(	Progress Billing Reviews

(	(	Operating & Maintenance Manual Review

Occupancy and Warranty:

YES	N/A

(	(	Warranty Walk-thru