Integrated Automation – Design Submittals Checklist

Division 250000-1

Project Name: 	________________________________

Location: 	____________________________________

Project ID:	 ___________________________________

File No: 	______________________________________

Pre-Design:

YES	N/A

(	(	Identify Owner's Project Requirements & Design Criteria

(	(	Preliminary Cost Projection

(	(	Preliminary Submittals Checklist

Phase A:  Schematic Design:

YES	N/A

(	(	Detailed Submittals Checklist

(	(	Identify Legacy System / Demolition Requirements

(	(	Identify All Systems / Interface Requirements

(	(	Identify Special Occupancy Zones

(	(	System Architecture

(	(	Connection to Utilities

(	(	Panel, Server Locations & Space Requirements

(	(	Preliminary Bus / Cable Tray Routing

(	(	Basis of Design Documentation

(	(	Integrated Automation Legend

(	(	CEMCS Interface Standards

Phase B:  Design Development:

YES	N/A

(	(	Update Basis of Design & Cost Projections

(	(	Fire Alarm Zones

(	(	Smoke Zones

(	(	Security Zones

(	(	Device & Outlet Locations

(	(	Preliminary Systems Riser Diagram

(	(	Control & Instrumentation Diagrams

(	(	Cable Tray / Conduit Routing Plan

(	(	Equipment List & Cut Sheets

(	(	Schematics & Details Index

(	(	Controls Sequence of Operation

(	(	Smoke Control Scheme / M&E Coordination Matrix

(	(	Identify Commissioning Requirements

(	(	Specification Table of Contents

Phase C Part 1: 50% Construction Documents:

YES	N/A

(	(	Update Basis of Design Documents & Cost Projections

(	(	Cable Schedule

(	(	Equipment / Installation Schematics & Details

(	(	Review Preliminary Commissioning Plan

(	(	Specification / Commissioning Integration Plan

(	(	Functional Performance Test Defined

Phase C Part 2: 75% Construction Documents:

YES	N/A

(	(	Update Basis of Design & Cost Projections

(	(	Systems Architecture Riser Diagrams

(	(	HVAC / Elect. / Systems Coordination. Report

(	(	Equipment Schedules

(	(	Integrated Specifications Final Draft

(	(	Final Commissioning Plan Approval

(	(	Functional Performance Test Complete

Phase C Part 3: Final Design:

YES	N/A

(	(	Final Basis of Design & Cost Projections

(	(	100% Construction Documents

(	(	Contract Specifications

(	(	Pre-Bid Conference

Bid Solicitation:

YES	N/A

(	(	Review Bids & Evaluate Alternatives

(	(	Review Contractor's Submittals & Shop Drawings

(	(	Pre-Construction Conference

Phase D:  Construction:

YES	N/A

(	(	Construction Phase Support / Testing / Inspections

(	(	Progress Billing Reviews

(	(	Operating & Maintenance Manual Review

Occupancy and Warranty:

YES	N/A

(	(	Warranty Walk-thru