Electrical - Design Submittals Checklist

Division 260000-1

Project Name: 	________________________________

Location: 	____________________________________

Project ID:	 ___________________________________

File No: 	_____________________________________

Pre-Design:

YES	N/A

(	(	Identify Owner's Project Requirements & Design Criteria

(	(	Preliminary Cost Projection

(	(	Preliminary Submittals Checklist

Phase A:  Schematic Design:

YES	N/A

(	(	Detailed Submittals Checklist

(	(	Identify Demolition Requirements

(	(	Identify All Systems

(	(	Single Line Diagram

(	(	Energy Code Requirements

(	(	Zone Lighting Level Requirements

(	(	Fixture Types

(	(	Location of Utilities / Vault

(	(	Location of Electrical Room / Closets

(	(	Basis of Design Documentation

(	(	Cost Projections

(	(	Electrical Legend

Phase B:  Design Development:

YES	N/A

(	(	Update Basis of Design & Cost Projections

(	(	Utility Coordination

(	(	Lighting Level Design Calculations

(	(	Preliminary Fixture / Switching Layout

(	(	Preliminary Power Receptacle Layout

(	(	Panel Locations

(	(	Electrical Power Riser Diagram

(	(	Electrical Load Estimate

(	(	Schematics & Details Index

(	(	Locate Major Equipment in Electrical Rooms

(	(	Lighting Controls Sequence of Operation

(	(	Smoke Control Scheme / M&E Coordination Matrix

(	(	Identify Commissioning Requirements

(	(	Specification Table of Contents

Phase C Part 1: 50% Construction Documents:

YES	N/A

(	(	Update Basis of Design Documents & Cost Projections

(	(	Electrical Load Summary

Phase C Part 1: 50% Construction Documents: (continued)

YES	N/A

(	(	Lighting Design Calculations

(	(	Lighting Fixture Schedule

(	(	Lighting Control Diagrams

(	(	Large Conduit Layout

(	(	Equipment / Installation Schematics & Details

(	(	Review Preliminary Commissioning Plan

(	(	Specification / Commissioning Integration Plan

(	(	Functional Performance Test Defined

Phase C Part 2: 75% Construction Documents

YES	N/A

(	(	Update Basis of Design & Cost Projections

(	(	Electrical Power Calculations

(	(	Panel Schedules

(	(	Coordinated Fixture / Switching Layout

(	(	Coordinated Power Receptacle Layout

(	(	Lighting & Power Circuiting

(	(	Equipment Schedules

(	(	HVAC / Elect. / Structural Coordination. Report

(	(	HVAC / Elect. / Systems Coordination. Report

(	(	Integrated Specifications Final Draft

(	(	Final Commissioning Plan Approval

(	(	Functional Performance Test Complete

Phase C Part 3: Final Design:

YES	N/A

(	(	Final Basis of Design & Cost Projections

(	(	100% Construction Documents

(	(	Contract Specifications

(	(	Pre-Bid Conference

Bid Solicitation:

YES	N/A

(	(	Review Bids & Evaluate Alternatives

(	(	Review Contractor's Submittals & Shop Drawings

(	(	Pre-Construction Conference

Phase D:  Construction:

YES	N/A

(	(	Construction Phase Support / Testing / Inspections

(	(	Progress Billing Reviews

(	(	Operating & Maintenance Manual Review

Occupancy and Warranty:

YES	N/A

(	(	Warranty Walk-Thru