Electronic Safety & Security - Owner’s Project Requirements

Division 280000-2

| Reference | Specification Requirements |
| --- | --- |
|  | General MEP Standards |

| Reference | Systems Basis of Design Requirements |
| --- | --- |

| Reference | Design Requirements |
| --- | --- |
|  | Locate cable routing paths on project drawings and identify acceptable cable retaining methods and details. |
|  | Fire alarm zones should correspond with sprinkler system zones and be identified on drawings showing interface to other building system components. |

| Reference | Functional Requirements Tab |
| --- | --- |
|  | General MEP Standards |

| Reference | Administrative Requirements |
| --- | --- |
|  | General MEP Standards |