Fire Suppression - Owner’s Project Requirements

Division 210000-2

| Reference | Specification Requirements |
| --- | --- |
|  | Sprinkler piping shall be a metal piping system, unless specifically approved by DECA. |
|  | Omega sprinkler heads as manufactured by Central Sprinkler Company, its subsidiaries, successors or assigns are not allowed as an approved bidder. |
|  | Chemical based fire suppression systems shall utilize chemicals conforming to the Clean Air Act. |

| Reference | Systems Basis for Design Requirements |
| --- | --- |
|  | Define Basis of Design Sprinkler System |

| Reference | Design Requirements |
| --- | --- |
|  | Sprinkler freezing and condensation considerations shall be addressed, particularly at intake and relief damper locations and in conjunction with dry storage and walk-in freezers and coolers. |
|  | Utilization of plastic piping components within a building is not permitted without written authorization from DECA.. |
|  | Below grade utility lines shall be clearly and accurately marked with appropriate marker tape. |
|  | Building Sprinkler Systems shall be designed using hydraulic calculation procedures |
|  | Utilization of chemical based fire suppression systems are not permitted without written authorization from DECA. |
|  | Include fire protection system flow information on project drawings. |
|  | Sprinkler system zones should correspond with fire alarm zones and be identified on drawings with appropriate control valves, alarm switches, etc. |

| Reference | Functional Requirements |
| --- | --- |
|  | Sprinkler systems shall be designed and zoned to facilitate easy testing and maintenance. |
|  | Using Agency personnel shall be on site during the final Fire Sprinkler system test or inspection. |

| Reference | Administrative Requirements |
| --- | --- |
|  | Permitting |